## typical 4map pressures
| Con correcciones | [5 empty] | sin correcion
g | 2175 | i | 2136 | k | 2103 | g | 2136 | i | 2076 | k | 2093 | [v] | [psi] | [Kg/cm2]
l | 2075 | m | 2085 | o | 2087 | l | 2101 | m | 2191 | o | 2179 | 2117 | 8.5
q | 2155 | s | 2110 | u | 2215 | q | 2203 | s | 2113 | u | 2182 | 1 | 4.0151 | 0.28229
w | 2118 | x | 2149 | X | 2081 | w | 2018 | x | 2063 | X | 2023
Z | 2103 | [ | 2075 | \ | 2063 | Z | 2089 | [ | 2119 | \ | 2143
^ | 2081 | ` | 2124 | b | 2108 | ^ | 2181 | ` | 2206 | b | 2161
d | 2138 | e | 2152 | f | 2076 | d | 2099 | e | 2102 | f | 1979
h | 2284 | j | 2281 | n | 2201 | h | 2251 | j | 2281 | n | 2255 | 2068.2308 | 9
p | 2211 | r | 2277 | t | 2229 | p | 2249 | r | 2269 | t | 2202 | 1 | 4.3515 | 0.30594
v | 2227 | Y | 2223 | ] | 2265 | v | 2201 | Y | 2223 | ] | 2275
_ | 2214 | a | 2220 | c | 2253 | _ | 2251 | a | 2219 | c | 2211
[5 empty] | (c/correc)-(s/correc)[mv] | [6 empty] | (c/correc)-(s/correc)[Kg/cm2]
|  |  |  | g | 39 | i | 60 | k | 10 |  | g | 0.01092 | i | 0.0168 | k | 0.0028
|  |  |  | l | -26 | m | -106 | o | -92 |  | l | -0.00728 | m | -0.02968 | o | -0.02576
|  |  |  | q | -48 | s | -3 | u | 33 |  | q | -0.01344 | s | -0.00084 | u | 0.00924
|  |  |  | w | 100 | x | 86 | X | 58 |  | w | 0.028 | x | 0.02408 | X | 0.01624
|  |  |  | Z | 14 | [ | -44 | \ | -80 |  | Z | 0.00392 | [ | -0.01232 | \ | -0.0224
|  |  |  | ^ | -100 | ` | -82 | b | -53 |  | ^ | -0.028 | ` | -0.02296 | b | -0.01484
|  |  |  | d | 39 | e | 50 | f | 97 |  | d | 0.01092 | e | 0.014 | f | 0.02716
|  |  |  | h | 33 | j | 0 | n | -54 |  | h | 0.00924 | j | 0 | n | -0.01512
|  |  |  | p | -38 | r | 8 | t | 27 |  | p | -0.01064 | r | 0.00224 | t | 0.00756
|  |  |  | v | 26 | Y | 0 | ] | -10 |  | v | 0.00728 | Y | 0 | ] | -0.0028
|  |  |  | _ | -37 | a | 1 | c | 42 |  | _ | -0.01036 | a | 0.00028 | c | 0.01176

## pf Status 300509
Blanco Active Mirror support system typical values (from old LUTs) | [6 empty] | Radial Defining points forces at the observing sky map positions | [11 empty] | Axial Friction Forces due to the radial defining points | [15 empty] | Axial Load Cell [Kg] | [5 empty] | Mitutoyos (mm) | [13 empty] | Pf Aberration Skymap 2006 | [7 empty] | Measured IQ at the observing sky map positions
| Apad=113[in2] | [5 empty] | Mirror displacement <100um as measured by Mitutoyos (mainly thermal contraction?) | [47 empty] | (average of 3 engineering nights) | [28 empty] | PF baseline | correction 270509 |  |  | old pf baseline correction | [7 empty] | Coma Correction from Values around Zenith(Zd:0,15,30 deg)
| conversion factors |  | Outer= | 4.0151 | [psi/v] | [16 empty] | Steel to steel friction coefficients |  |  |  |  | static | kinematic | [57 empty] | mag | ang | mag | ang | [5 empty] | mag[nm] | ang[degrees] |  | Coma Scale
|  |  | Inner = | 4.3515 | [psi/v] | [21 empty] | 0.75 | 0.25 | [11 empty] | 2009-05-26 |  | 2009-05-27 |  | 2009-05-28 | [39 empty] | PF baseline | b2= | 500 | 70 | 400 | 15 | [5 empty] | 1478 | 1 | (to W) | 1.4um/mm
|  |  | 1 pound = 0.45359237 kilograms |  |  |  | Load Cell Radial [Kg] 26may |  |  |  | Load Cell Radial 27May[Kg] |  |  |  | Load Cell Radial 28May[Kg] |  |  |  | Load Cell Radial [Kg] 26may |  |  |  | Load Cell Radial 27May[Kg] |  |  |  | Load Cell Radial 28May[Kg] |  |  |  |  | 2009-05-26 |  |  | 2009-05-27 |  |  | 2009-05-28 |  | east | south | east | south | east | south | [49 empty] | Move Pf Cage 1mm to west
| M1support | M1support |  |  |  |  | Av T°C: |  | 13.1232 |  | Av T°C: |  | 10.0749 |  | Av T°C: |  | 9.7611 |  | Av T°C: |  | 13.1232 |  | Av T°C: |  | 10.0749 |  | Av T°C: |  | 9.7611 |  | NE | S | NW | NE | S | NW | NE | S | NW | (+ M1 W) | (+ M1 N) | (+ M1 W) | (+ M1 N) | (+ M1 W) | (+ M1 N) |  |  |  |  | Skymap | [16 empty] | 2009-05-26 | [9 empty] | 2009-05-27 | [9 empty] | 2009-05-28 | [9 empty] | 2009-05-30
Outer ring | w/correc[mv] | w/o/correc[mv] | Δ[mv] | Δ[psi] | F[lb] | F[kg] | N_1 | S_2 | W_3 | E_4 | N_1 | S_2 | W_3 | E_4 | N_1 | S_2 | W_3 | E_4 | N_1 | S_2 | W_3 | E_4 | N_1 | S_2 | W_3 | E_4 | N_1 | S_2 | W_3 | E_4 | y | z | ¦ | y | z | ¦ | y | z | ¦ | E_1 | S_2 | E_1 | S_2 | E_1 | S_2 | Pos | Zd | Az | HA in hr | Dec deg | HA in hr:min | Dec deg:min | foc(0,2) | sph(0,4) | coma(1,3) | ang | astig(2,2) | ang | trian(3,3) | ang | quad(4,4) | ang | foc(0,2) | sph(0,4) | coma(1,3) | ang | ast(2,2) | ang | tria(3,3) | ang | qua(4,4) | ang | foc(0,2) | sph(0,4) | coma(1,3) | ang | ast(2,2) | ang | tria(3,3) | ang | qua(4,4) | ang | foc(0,2) | sph(0,4) | coma(1,3) | ang | ast(2,2) | ang | tria(3,3) | ang | qua(4,4) | ang | foc(0,2) | sph(0,4) | coma(1,3) | ang | ast(2,2) | ang | tria(3,3) | ang | qua(4,4) | ang
g | 2175 | 2136 | 39 | 0.15659 | 17.6946 | 8.0334 | 38.223 | 47.7214 | 51.6356 | 24.3863 | 62.673 | 64.6614 | 68.8356 | 42.0563 | 70.183 | 74.1514 | 75.8356 | 47.2363 | 28.6672 | 35.791 | 38.7267 | 18.2897 | 47.0048 | 48.496 | 51.6267 | 31.5422 | 52.6373 | 55.6135 | 56.8767 | 35.4272 | -------- | 390.9922 | 341.996 | -------- | 366.0778 | 341.996 | -------- | 439.338 | 374.6768 | -0.039 | 0.011 | 0.022 | 0.055 | 0.059 | 0.077 | Zenith | 0 | 0 | 5.6918e-08 | -30.0002 | 3.4151e-08 | -30.0001 | 3838.3333 | -2301.3333 | 703 | 192.6667 | 415.6667 | 121 | 115.3333 | 235 | 80.3333 | 112.6667 | 7387 | -4511 | 1383 | 316 | 1333 | 16 | 294 | 133 | 211 | 153 | 3603 | -3178 | 1482 | 336 | 781 | 322 | 48 | 161 | 285 | 180 | 16345 | -10141 | 2433 | 9 | 616 | 1 | 358 | 100 | 751 | 97 | 9402 | -5731 | 2016 | 31 | 1491 | 140 | 596 | 312 | 295 | 196
l | 2075 | 2101 | -26 | -0.10439 | -11.7964 | -5.3556 | 47.613 | 39.1414 | 56.9356 | 19.4363 | 72.923 | 54.8014 | 75.0156 | 36.5963 | 92.933 | 56.9014 | 79.1456 | 41.9663 | 35.7097 | 29.356 | 42.7017 | 14.5772 | 54.6923 | 41.1011 | 56.2617 | 27.4472 | 69.6997 | 42.676 | 59.3592 | 31.4747 | -------- | 387.1364 | 312.3412 | -------- | 367.2642 | 319.6036 | -------- | 398.7038 | 358.3364 | -0.045 | -0.026 | 0.017 | 0.024 | 0.48 | 0.049 | 1 |  | 0 | 5.6918e-08 | -15.0002 | 3.4151e-08 | -15.0001 | 3484 | -2269.6667 | 737.3333 | 193 | 250.3333 | 272.6667 | 99.6667 | 276.3333 | 48 | 162.6667 | 15017 | -7164 | 1856 | 7 | 790 | 74 | 334 | 249 | 145 | 225 | 5711 | -3536 | 1799 | 358 | 197 | 228 | 164 | 188 | 169 | 144 | 8795 | -6720 | 82 | 336 | 1010 | 238 | 230 | 125 | 130 | 196 | 10607 | -5693 | 1043 | 355 | 1603 | 122 | 374 | 314 | 291 | 188
q | 2155 | 2203 | -48 | -0.19273 | -21.778 | -9.8872 | 46.203 | 39.8414 | 60.3356 | 17.3463 | --------- | --------- | --------- | --------- | 90.483 | 59.7914 | 81.7256 | 40.3263 | 34.6523 | 29.881 | 45.2517 | 13.0097 | --------- | --------- | --------- | --------- | 67.8623 | 44.8436 | 61.2942 | 30.2447 | -------- | 391.2888 | 302.3554 | -------- | -44.12 | 36.37 | -------- | 408.7882 | 361.9676 | -0.053 | -0.029 | -------- | -------- | 0.051 | 0.046 | 2 |  | 30 | 0.5179 | -16.7892 | 0.31074 | -16.4735 | 5203.3333 | -2438.3333 | 1244.6667 | 179.6667 | 332.3333 | 192.6667 | 137.6667 | 182.3333 | 45.6667 | 172.3333 | 12625 | -6014 | 1262 | 13 | 930 | 70 | 459 | 249 | 157 | 54 | [10 empty] | 11089 | -7649 | 1521 | 23 | 899 | 115 | 582 | 219 | 182 | 144 | 13866 | -6942 | 1799 | 317 | 1506 | 107 | 451 | 305 | 289 | 97
w | 2118 | 2018 | 100 | 0.40151 | 45.3708 | 20.5983 | 44.983 | 42.1514 | 63.1456 | 15.3963 | 65.673 | 58.9714 | 81.5956 | 31.5163 | 81.683 | 66.6614 | 84.1856 | 37.0063 | 33.7373 | 31.6136 | 47.3592 | 11.5472 | 49.2548 | 44.2285 | 61.1967 | 23.6372 | 61.2623 | 49.996 | 63.1392 | 27.7547 | -------- | 386.2466 | 298.4216 | -------- | 369.0438 | 313.8542 | -------- | 402.8562 | 348.048 | -0.062 | -0.026 | -0.001 | 0.023 | 0.043 | 0.047 | 3 |  | 60 | 0.9311 | -21.7707 | 0.55866 | -21.4624 | 3513.3333 | -1766 | 783.6667 | 233.6667 | 401.6667 | 172 | 257 | 184.6667 | 52 | 181.6667 | 11950 | -5030 | 2083 | 310 | 2402 | 89 | 290 | 175 | 163 | 319 | [10 empty] | 6782 | -5338 | 974 | 308 | 922 | 22 | 229 | 220 | 275 | 129 | 13500 | -6689 | 1658 | 308 | 635 | 85 | 36 | 348 | 80 | 147
Z | 2103 | 2089 | 14 | 0.056212 | 6.3519 | 2.8838 | 41.093 | 46.9214 | 65.8256 | 13.0363 | 59.273 | 63.4714 | 84.8156 | 29.2463 | 71.283 | 72.7214 | 87.3956 | 35.5563 | 30.8197 | 35.191 | 49.3692 | 9.7772 | 44.4547 | 47.6035 | 63.6117 | 21.9347 | 53.4622 | 54.541 | 65.5467 | 26.6672 | -------- | 405.8222 | 326.866 | -------- | 370.2302 | 341.6934 | -------- | 410.8644 | 379.5184 | -0.075 | -0.02 | -0.012 | 0.03 | 0.031 | 0.053 | 4 |  | 90 | 1.1461 | -28.8792 | 1.0877 | -28.5275 | 3782.3333 | -2080.6667 | 457.3333 | 197 | 351.6667 | 117 | 261.3333 | 210.6667 | 49 | 156.3333 | 10494 | -4908 | 2007 | 296 | 283 | 80 | 614 | 100 | 393 | 172 | [10 empty] | 13155 | -8530 | 712 | 94 | 739 | 21 | 344 | 172 | 281 | 135 | 13006 | -6904 | 2218 | 306 | 651 | 89 | 81 | 77 | 85 | 236
^ | 2081 | 2181 | -100 | -0.40151 | -45.3708 | -20.5983 | 35.383 | 53.0114 | 66.1356 | 12.8363 | 52.463 | 70.1314 | 85.3156 | 30.4763 | 64.853 | 80.0214 | 88.2156 | 40.1063 | 26.5373 | 39.7585 | 49.6017 | 9.6272 | 39.3473 | 52.5986 | 63.9867 | 22.8572 | 48.6397 | 60.016 | 66.1617 | 30.0797 | -------- | 393.0684 | 321.4192 | -------- | 364.2982 | 334.1284 | -------- | 404.9324 | 374.3742 | -0.085 | -0.002 | -0.018 | 0.048 | 0.023 | 0.028 | 5 |  | 120 | 1.0796 | -36.5151 | 1.0477 | -36.3091 | 3679.3333 | -2213.6667 | 778.6667 | 228.3333 | 345.6667 | 98 | 125.3333 | 187.3333 | 66.6667 | 116 | 9718 | -4273 | 1819 | 349 | 784 | 195 | 208 | 259 | 145 | 102 | [10 empty] | 9460 | -6714 | 1274 | 27 | 847 | 53 | 465 | 121 | 218 | 114 | 9619 | -4928 | 4104 | 2 | 1191 | 86 | 837 | 274 | 386 | 121
d | 2138 | 2099 | 39 | 0.15659 | 17.6946 | 8.0334 | 27.983 | 60.9814 | 61.9156 | 16.3063 | 46.583 | 77.6114 | 79.4556 | 35.2463 | 58.043 | 87.0714 | 82.1356 | 49.9163 | 20.9872 | 45.736 | 46.4367 | 12.2297 | 34.9372 | 58.2086 | 59.5917 | 26.4347 | 43.5322 | 65.3036 | 61.6017 | 37.4372 | -------- | 380.018 | 323.5374 | -------- | 355.6968 | 342.9038 | -------- | 411.161 | 380.1236 | -0.082 | 0.028 | -0.014 | 0.075 | 0.025 | 0.092 | 6 | 15 | 150 | 0.67519 | -42.6155 | 0.40511 | -42.3693 | 4372.3333 | -2435.6667 | 778.6667 | 221.6667 | 307.6667 | 186 | 162.6667 | 189.6667 | 50.3333 | 164 | 9571 | -4637 | 2261 | 1 | 1225 | 65 | 169 | 22 | 272 | 134 | [10 empty] | 9765 | -6716 | 2344 | 62 | 581 | 24 | 297 | 253 | 103 | 124 | 13516 | -6716 | 863 | 314 | 3165 | 126 | 811 | 339 | 575 | 199
i | 2136 | 2076 | 60 | 0.24091 | 27.2225 | 12.359 | 24.673 | 65.4514 | 54.1656 | 23.2563 | 45.033 | 81.7214 | 70.8956 | 41.9663 | 55.143 | 90.8714 | 73.4756 | 58.3163 | 18.5048 | 49.0885 | 40.6242 | 17.4422 | 33.7747 | 61.291 | 53.1717 | 31.4747 | 41.3573 | 68.1535 | 55.1067 | 43.7372 | -------- | 382.0942 | 324.4452 | -------- | 359.8492 | 352.2844 | -------- | 407.8984 | 375.5846 | -0.066 | 0.051 | 0 | 0.095 | 0.039 | 0.113 | 7 |  | 180 | 1.0271e-05 | -44.9998 | 6.1625e-06 | -44.5999 | 3819 | -2192.6667 | 746.3333 | 216.3333 | 569.3333 | 126.6667 | 132.3333 | 200.6667 | 76 | 122.6667 | 9938 | -4384 | 2394 | 337 | 1714 | 96 | 500 | 234 | 135 | 64 | 10390 | -5358 | 3470 | 15 | 1241 | 75 | 378 | 317 | 241 | 137 | 11953 | -6964 | 2480 | 347 | 383 | 23 | 174 | 164 | 76 | 176 | 11455 | -6131 | 1872 | 308 | 1946 | 62 | 544 | 204 | 273 | 319
m | 2085 | 2191 | -106 | -0.4256 | -48.0931 | -21.8342 | 27.693 | 60.6714 | 45.9156 | 31.4263 | 51.233 | 77.3114 | 62.7356 | 49.6063 | 65.263 | 81.8114 | 66.4556 | 65.8563 | 20.7697 | 45.5035 | 34.4367 | 23.5697 | 38.4248 | 57.9836 | 47.0517 | 37.2047 | 48.9472 | 61.3586 | 49.8417 | 49.3922 | -------- | 388.916 | 327.1686 | -------- | 355.6968 | 341.0882 | -------- | 408.7882 | 380.1236 | -0.037 | 0.059 | 0.024 | 0.103 | 0.063 | 0.12 | 8 |  | 210 | -0.6752 | -42.6154 | -0.40512 | -42.3693 | 3946.3333 | -2250.3333 | 745.6667 | 231.3333 | 471.3333 | 45.3333 | 217.6667 | 181.3333 | 74 | 110 | 8506 | -3652 | 2340 | 7 | 917 | 15 | 255 | 188 | 119 | 155 | [10 empty] | 8569 | -5942 | 229 | 306 | 585 | 271 | 296 | 110 | 261 | 183 | 14218 | -7271 | 2242 | 311 | 776 | 107 | 208 | 224 | 216 | 197
s | 2110 | 2113 | -3 | -0.012045 | -1.3611 | -0.61795 | 33.283 | 53.8914 | 40.0256 | 38.3363 | 58.953 | 70.6514 | 57.1556 | 55.3263 | 76.103 | 71.0414 | 61.6956 | 70.4963 | 24.9623 | 40.4186 | 30.0192 | 28.7522 | 44.2148 | 52.9885 | 42.8667 | 41.4947 | 57.0772 | 53.2811 | 46.2717 | 52.8722 | -------- | 393.6616 | 314.762 | -------- | 362.8152 | 334.7336 | -------- | 400.4834 | 365.9014 | -0.009 | 0.053 | 0.05 | 0.099 | 0.085 | 0.117 | 9 |  | 240 | -1.0796 | -36.5149 | -1.0478 | -36.3089 | 3581.3333 | -2068.3333 | 664 | 225 | 465 | 207.3333 | 154 | 205.3333 | 54.3333 | 128.6667 | 8165 | -3710 | 1217 | 29 | 905 | 84 | 129 | 234 | 221 | 144 | 8379 | -4690 | 1130 | 335 | 294 | 133 | 161 | 350 | 254 | 159 | 8550 | -5443 | 1782 | 341 | 1428 | 18 | 385 | 239 | 162 | 156 | 9415 | -5756 | 1562 | 267 | 1143 | 342 | 360 | 164 | 216 | 137
x | 2149 | 2063 | 86 | 0.3453 | 39.0189 | 17.7146 | 40.993 | 46.4214 | 38.5756 | 40.7363 | 65.483 | 62.1614 | 55.6156 | 58.1863 | 84.583 | 62.3814 | 60.3456 | 68.2163 | 30.7447 | 34.816 | 28.9317 | 30.5522 | 49.1123 | 46.621 | 41.7117 | 43.6397 | 63.4372 | 46.7861 | 45.2592 | 51.1622 | -------- | 382.6874 | 301.7502 | -------- | 364.8914 | 321.1166 | -------- | 404.6358 | 354.4026 | 0.01 | 0.036 | 0.066 | 0.082 | 0.1 | 0.104 | 10 |  | 270 | -1.1461 | -28.879 | -1.0877 | -28.5274 | 3755.3333 | -1879.3333 | 1123 | 196.3333 | 390.3333 | 176 | 95.3333 | 181 | 52.3333 | 127 | 10607 | -4834 | 2344 | 357 | 1031 | 63 | 118 | 59 | 324 | 71 | 6368 | -3641 | 1381 | 8 | 1574 | 84 | 197 | 283 | 167 | 200 | 10169 | -6296 | 2445 | 7 | 1233 | 36 | 276 | 202 | 260 | 176 | 11918 | -5996 | 1189 | 307 | 510 | 10 | 164 | 28 | 238 | 168
[ | 2075 | 2119 | -44 | -0.17667 | -19.9632 | -9.0633 | 48.243 | 39.7514 | 41.1556 | 38.3363 | 72.293 | 55.5014 | 58.9256 | 55.7263 | 91.703 | 55.2914 | 63.0456 | 61.4963 | 36.1823 | 29.8135 | 30.8667 | 28.7522 | 54.2197 | 41.626 | 44.1942 | 41.7947 | 68.7772 | 41.4686 | 47.2842 | 46.1222 | -------- | 383.2806 | 287.528 | -------- | 369.9336 | 315.0646 | -------- | 401.9664 | 341.6934 | 0.014 | 0.013 | 0.071 | 0.061 | 0.105 | 0.083 | 11 |  | 300 | -0.9311 | -21.7706 | -0.55866 | -21.4623 | 4156.3333 | -2060.6667 | 830.3333 | 190.6667 | 385.6667 | 110 | 130 | 186.3333 | 74.6667 | 103.6667 | 7323 | -3497 | 1728 | 285 | 651 | 63 | 702 | 288 | 627 | 12 | 10982 | -6071 | 1299 | 50 | 1339 | 67 | 372 | 165 | 231 | 168 | 12228 | -6859 | 1540 | 343 | 941 | 58 | 310 | 175 | 120 | 130 | 10098 | -4701 | 2496 | 298 | 1219 | 24 | 224 | 9 | 416 | 225
` | 2124 | 2206 | -82 | -0.32924 | -37.2041 | -16.8906 | 53.823 | 35.5514 | 45.6356 | 33.6963 | 76.513 | 51.7014 | 63.1456 | 51.3663 | 96.053 | 51.2214 | 66.8556 | 56.2263 | 40.3672 | 26.6636 | 34.2267 | 25.2722 | 57.3847 | 38.776 | 47.3592 | 38.5247 | 72.0397 | 38.416 | 50.1417 | 42.1697 | -------- | 404.9324 | 296.0008 | -------- | 380.3146 | 320.2088 | -------- | 403.746 | 347.1402 | 0.009 | -0.01 | 0.066 | 0.04 | 0.101 | 0.064 | 12 |  | 330 | -0.51788 | -16.7891 | -0.31073 | -16.4735 | 4231.3333 | -2119.6667 | 1305 | 168.6667 | 317.3333 | 195 | 157 | 165 | 69.6667 | 121 | 9291 | -4165 | 813 | 339 | 691 | 131 | 158 | 142 | 269 | 156 | [10 empty] | 10156 | -6351 | 1461 | 19 | 1534 | 43 | 433 | 118 | 250 | 171 | 11257 | -5425 | 3075 | 302 | 185 | 29 | 357 | 286 | 228 | 35
e | 2152 | 2102 | 50 | 0.20076 | 22.6854 | 10.2992 | 59.903 | 29.1914 | 53.9456 | 23.7563 | 80.783 | 45.6214 | 69.2256 | 40.7363 | 100.363 | 49.6014 | 73.3456 | 47.8663 | 44.9273 | 21.8936 | 40.4592 | 17.8172 | 60.5872 | 34.2161 | 51.9192 | 30.5522 | 75.2722 | 37.2011 | 55.0092 | 35.8997 | -------- | 370.8234 | 215.5092 | -------- | 350.0614 | 236.9938 | -------- | 331.9688 | 276.6344 | -0.017 | -0.057 | 0.042 | -0.002 | 0.078 | 0.02 | 13 |  | 0 | 5.6918e-08 | 14.9998 | 3.4151e-08 | 14.5999 | 4435 | -1865 | 575.3333 | 227 | 738.6667 | 176 | 154 | 188.3333 | 68 | 88.6667 | 10478 | -4498 | 758 | 335 | 937 | 146 | 253 | 207 | 158 | 102 | [10 empty] | 7228 | -4691 | 691 | 24 | 658 | 37 | 303 | 208 | 253 | 151 | 10932 | -5660 | 2351 | 265 | 208 | 74 | 719 | 189 | 363 | 165
k | 2103 | 2093 | 10 | 0.040151 | 4.5371 | 2.0598 | 62.363 | 27.5814 | 58.9256 | 19.2163 | 83.353 | 44.3414 | 74.1656 | 36.0663 | 105.383 | 46.1314 | 78.4156 | 42.6063 | 46.7722 | 20.6861 | 44.1942 | 14.4122 | 62.5147 | 33.2561 | 55.6242 | 27.0497 | 79.0373 | 34.5986 | 58.8117 | 31.9547 | -------- | 368.7472 | 209.7598 | -------- | 333.7484 | 220.0482 | -------- | 332.2654 | 276.937 | -0.028 | -0.07 | 0.03 | -0.014 | 0.068 | 0.01 | 14 |  | 30 | 1.4034 | 10.1819 | 1.2421 | 10.1091 | 6049.3333 | -2358.3333 | 627 | 241.3333 | 282 | 168.6667 | 177.6667 | 192.3333 | 74 | 144.6667 | 8316 | -3554 | 2056 | 238 | 387 | 133 | 511 | 324 | 180 | 31 | [10 empty] | 9749 | -5089 | 1350 | 330 | 2290 | 31 | 264 | 148 | 280 | 150 | 9608 | -4672 | 3091 | 252 | 760 | 23 | 190 | 159 | 64 | 98
o | 2087 | 2179 | -92 | -0.36939 | -41.7411 | -18.9505 | 60.223 | 29.9814 | 65.3356 | 15.1583 | 78.903 | 46.6214 | 79.5356 | 30.1663 | 94.693 | 53.8914 | 83.7756 | 36.7863 | 45.1673 | 22.486 | 49.0017 | 11.3687 | 59.1773 | 34.9661 | 59.6517 | 22.6247 | 71.0198 | 40.4186 | 62.8317 | 27.5897 | -------- | 336.4178 | 205.826 | -------- | 309.4272 | 221.2586 | -------- | 314.4694 | 271.1876 | -0.049 | -0.076 | 0.011 | -0.019 | 0.05 | 0.004 | 15 |  | 60 | 2.5207 | -2.7151 | 2.3124 | -2.4291 | 4640.3333 | -2319.3333 | 557.6667 | 245.3333 | 548 | 135.3333 | 154 | 192.6667 | 62.3333 | 148 | 7127 | -3494 | 4383 | 277 | 1298 | 98 | 994 | 298 | 617 | 32 | [10 empty] | 10801 | -6614 | 1375 | 323 | 1945 | 341 | 623 | 350 | 99 | 124 | 12138 | -5839 | 1737 | 295 | 382 | 116 | 537 | 239 | 179 | 164
u | 2215 | 2182 | 33 | 0.1325 | 14.9724 | 6.7975 | 56.183 | 35.3714 | 71.8356 | 10.3363 | 73.833 | 51.5214 | 85.6356 | 24.8963 | 83.223 | 59.5814 | 90.5756 | 32.1463 | 42.1373 | 26.5285 | 53.8767 | 7.7522 | 55.3747 | 38.641 | 64.2267 | 18.6722 | 62.4173 | 44.6861 | 67.9317 | 24.1097 | -------- | 352.1376 | 236.086 | -------- | 326.9266 | 253.9394 | -------- | 323.3674 | 304.171 | -0.074 | -0.076 | -0.012 | -0.018 | 0.028 | 0.004 | 16 |  | 90 | 3.2738 | -20.705 | 3.1643 | -20.423 | 4149 | -2143.6667 | 609.6667 | 202.3333 | 312.6667 | 155.3333 | 172.6667 | 198 | 50.6667 | 143 | 9249 | -3549 | 1005 | 300 | 1710 | 101 | 199 | 199 | 327 | 130 | [10 empty] | 8829 | -5811 | 1394 | 2 | 2365 | 350 | 345 | 62 | 337 | 134 | 11127 | -6168 | 2586 | 289 | 530 | 90 | 523 | 138 | 502 | 162
X | 2081 | 2023 | 58 | 0.23288 | 26.3151 | 11.947 | 47.613 | 40.3214 | 77.6956 | 6.9163 | 66.303 | 58.7914 | 91.8356 | 19.6696 | 76.103 | 64.4714 | 96.5656 | 26.0263 | 35.7097 | 30.2411 | 58.2717 | 5.1872 | 49.7272 | 44.0936 | 68.8767 | 14.7522 | 57.0772 | 48.3535 | 72.4242 | 19.5197 | -------- | 286.2924 | 231.8496 | -------- | 267.31 | 235.4808 | -------- | 269.0896 | 287.528 | -0.096 | -0.068 | -0.033 | -0.01 | 0.007 | 0.012 | 17 |  | 120 | 3.6383 | -41.2802 | 3.383 | -41.1681 | 5256.6667 | -2169.6667 | 470.3333 | 218.6667 | 627.6667 | 159.6667 | 191 | 194.3333 | 41.6667 | 57.3333 | 14376 | -6327 | 1134 | 334 | 2006 | 88 | 381 | 185 | 85 | 85 | [10 empty] | 15291 | -7671 | 2400 | 354 | 911 | 81 | 51 | 188 | 167 | 119 | 9143 | -4071 | 1829 | 306 | 1383 | 341 | 107 | 333 | 306 | 102
\ | 2063 | 2143 | -80 | -0.32121 | -36.2966 | -16.4787 | 35.103 | 49.8114 | 79.0156 | 5.4663 | 51.873 | 68.8214 | 91.2056 | 21.1663 | 66.393 | 74.8214 | 96.5956 | 32.2463 | 26.3272 | 37.3586 | 59.2617 | 4.0997 | 38.9047 | 51.6161 | 68.4042 | 15.8747 | 49.7948 | 56.1161 | 72.4467 | 24.1847 | -------- | 287.7754 | 263.32 | -------- | 261.6746 | 271.4902 | -------- | 272.6488 | 297.2112 | -0.115 | -0.039 | -0.048 | 0.2 | -0.009 | 0.042 | 18 | 45 | 150 | 3.2737 | -62.1145 | 3.1642 | -62.0687 | 5706.3333 | -2238.3333 | 841.3333 | 220.6667 | 685.6667 | 129.6667 | 207 | 223 | 73 | 225 | 12814 | -5714 | 1356 | 356 | 1956 | 51 | 493 | 58 | 339 | 141 | 5466 | -4053 | 2179 | 13 | 1527 | 39 | 295 | 126 | 166 | 185 | 8708 | -5383 | 2291 | 345 | 790 | 332 | 204 | 65 | 365 | 106 | 11534 | -4975 | 2654 | 340 | 1548 | 77 | 354 | 217 | 294 | 111
b | 2108 | 2161 | -53 | -0.2128 | -24.0465 | -10.9171 | 13.643 | 81.7214 | 59.1156 | 20.4463 | 33.053 | 96.5614 | 74.6126 | 42.0563 | 44.713 | 106.0214 | 79.0156 | 55.5963 | 10.2323 | 61.291 | 44.3367 | 15.3347 | 24.7898 | 72.421 | 55.9594 | 31.5422 | 33.5348 | 79.5161 | 59.2617 | 41.6972 | -------- | 292.8176 | 276.937 | -------- | 261.0814 | 280.8708 | -------- | 284.2162 | 312.9464 | -0.099 | 0.086 | -0.032 | 0.132 | 0.01 | 0.148 | 19 |  | 180 | 7.6664e-05 | -74.9998 | 4.5999e-05 | -74.5999 | 5943 | -2195.6667 | 901.6667 | 206 | 403.3333 | 202.6667 | 330.6667 | 183 | 63 | 177.6667 | 8176 | -3145 | 2322 | 356 | 1014 | 80 | 296 | 271 | 145 | 113 | [10 empty] | 8909 | -5051 | 2201 | 318 | 995 | 34 | 140 | 238 | 314 | 202 | 7308 | -3983 | 3434 | 329 | 1879 | 96 | 279 | 328 | 591 | 166
f | 2076 | 1979 | 97 | 0.38947 | 44.0097 | 19.9804 | 26.343 | 67.6214 | 33.2356 | 48.9063 | 46.083 | 81.6014 | 49.0956 | 68.5363 | 65.353 | 81.1114 | 54.4856 | 79.6163 | 19.7572 | 50.7161 | 24.9267 | 36.6797 | 34.5622 | 61.2011 | 36.8217 | 51.4022 | 49.0147 | 60.8336 | 40.8642 | 59.7122 | -------- | 314.4694 | 264.833 | -------- | 268.4964 | 276.6344 | -------- | 280.0638 | 302.0528 | 0.005 | 0.106 | 0.065 | 0.149 | 0.098 | 0.162 | 20 |  | 210 | -3.2738 | -62.114 | -3.1643 | -62.0684 | 5143.6667 | -2343.3333 | 859 | 208.3333 | 360.3333 | 222.3333 | 312.3333 | 188.6667 | 59.6667 | 159.6667 | 3720 | -1328 | 2772 | 14 | 2546 | 110 | 672 | 245 | 229 | 94 | 7774 | -4644 | 1256 | 23 | 321 | 184 | 249 | 199 | 132 | 134 | 7812 | -5570 | 804 | 16 | 377 | 34 | 280 | 188 | 220 | 171 | 8569 | -4879 | 2274 | 34 | 1006 | 269 | 194 | 160 | 92 | 209
[5 empty] | sum = | -9.8872 | 33.553 | 57.7814 | 29.9156 | 54.4663 | 56.913 | 72.4414 | 45.0656 | 71.9463 | 73.683 | 71.9314 | 49.4456 | 81.0563 | 25.1648 | 43.3361 | 22.4367 | 40.8497 | 42.6848 | 54.331 | 33.7992 | 53.9597 | 55.2623 | 53.9485 | 37.0842 | 60.7922 | -------- | 329.0028 | 236.3886 | -------- | 275.6148 | 266.9512 | -------- | 286.8856 | 286.015 | 0.034 | 0.9 | 0.091 | 0.133 | 0.124 | 0.146 | 21 |  | 240 | -3.6383 | -41.2796 | -3.383 | -41.1677 | 3997.3333 | -2004 | 1120 | 229 | 280.6667 | 141.3333 | 279 | 199.6667 | 67.6667 | 81.3333 | 11383 | -5054 | 2721 | 325 | 2107 | 95 | 1157 | 266 | 643 | 23 | 7754 | -4135 | 1016 | 87 | 625 | 352 | 131 | 162 | 260 | 349 | 9643 | -5240 | 1812 | 57 | 727 | 55 | 237 | 208 | 214 | 137 | 13082 | -6612 | 1744 | 353 | 297 | 316 | 286 | 159 | 80 | 271
Inner ring | w/correc[mv] | w/o/correc[mv] | Δ | Δ[psi] |  |  | 44.303 | 47.9314 | 29.6056 | 55.2363 | 67.533 | 62.3814 | 45.3756 | 71.9463 | 83.883 | 62.9814 | 48.3756 | 79.2363 | 33.2272 | 35.9485 | 22.2042 | 41.4272 | 50.6497 | 46.7861 | 34.0317 | 53.9597 | 62.9123 | 47.236 | 36.2817 | 59.4272 | -------- | 365.7812 | 249.4004 | -------- | 317.732 | 273.6084 | -------- | 315.6558 | 287.528 | 0.052 | 0.062 | 0.108 | 0.105 | 0.139 | 0.122 | 22 |  | 270 | -3.2737 | -20.7044 | -3.1642 | -20.4227 | 5118.6667 | -2506 | 1129.6667 | 200 | 429.6667 | 118.6667 | 252 | 171.3333 | 66.6667 | 148.6667 | 9230 | -3721 | 376 | 119 | 1793 | 38 | 248 | 228 | 80 | 206 | 14072 | -7386 | 1863 | 110 | 237 | 161 | 292 | 212 | 243 | 134 | [10 empty] | 10584 | -4982 | 1001 | 68 | 677 | 354 | 423 | 294 | 663 | 152
h | 2284 | 2251 | 33 | 0.1436 | 16.2269 | 7.367 | 55.463 | 38.0414 | 31.3656 | 53.4563 | 76.633 | 53.4914 | 47.2356 | 69.4363 | 93.153 | 54.0114 | 51.0456 | 76.4863 | 41.5973 | 28.5311 | 23.5242 | 40.0922 | 57.4748 | 40.1185 | 35.4267 | 52.0772 | 69.8648 | 40.5085 | 38.2842 | 57.3647 | -------- | 343.2396 | 216.1144 | -------- | 297.8598 | 234.8756 | -------- | 291.6312 | 256.6628 | 0.065 | 0.026 | 0.117 | 0.075 | 0.147 | 0.093 | 23 |  | 300 | -2.5207 | -2.7147 | -2.3124 | -2.4288 | 4588 | -1954.6667 | 1677.3333 | 183 | 232.3333 | 152 | 240.3333 | 197.3333 | 39.3333 | 101 | 8228 | -3468 | 1762 | 33 | 2348 | 87 | 210 | 190 | 327 | 331 | 8310 | -4908 | 1696 | 98 | 410 | 172 | 180 | 230 | 134 | 251 | [10 empty] | 12669 | -5814 | 907 | 250 | 882 | 32 | 409 | 17 | 119 | 280
p | 2211 | 2249 | -38 | -0.16536 | -18.6855 | -8.4832 | 65.163 | 29.6214 | 36.0356 | 47.5463 | 85.083 | 44.8314 | 51.6756 | 63.4863 | 100.363 | 48.5114 | 56.8356 | 71.3463 | 48.8723 | 22.216 | 27.0267 | 35.6597 | 63.8122 | 33.6236 | 38.7567 | 47.6147 | 75.2722 | 36.3835 | 42.6267 | 53.5097 | -------- | 381.2044 | 223.3768 | -------- | 330.1892 | 235.1782 | -------- | 325.7402 | 260.8992 | 0.062 | -0.014 | 0.114 | 0.037 | 0.143 | 0.058 | 24 |  | 330 | -1.4034 | 10.1821 | -1.242 | 10.1093 | 6275.6667 | -2524.3333 | 1226.6667 | 187.6667 | 516 | 132.6667 | 363 | 188.6667 | 127.3333 | 204 | 10567 | -3905 | 706 | 45 | 947 | 126 | 403 | 194 | 179 | 167 | 10873 | -6012 | 1461 | 339 | 1089 | 134 | 1026 | 211 | 201 | 1 | [10 empty] | 17849 | -9294 | 161 | 123 | 403 | 94 | 552 | 136 | 500 | 44
v | 2227 | 2201 | 26 | 0.11314 | 12.7848 | 5.8043 | 70.843 | 23.8114 | 40.2156 | 39.4763 | 88.483 | 38.8614 | 55.4856 | 56.4463 | 103.893 | 43.8214 | 61.3756 | 63.4863 | 53.1322 | 17.8586 | 30.1617 | 29.6072 | 66.3623 | 29.146 | 41.6142 | 42.3347 | 77.9197 | 32.8661 | 46.0317 | 47.6147 | -------- | 337.3076 | 139.8592 | -------- | 298.7496 | 158.923 | -------- | 282.14 | 188.8804 | 0.047 | -0.052 | 0.098 | 0.002 | 0.126 | 0.025 | 25 |  | 0 | 5.6918e-08 | 29.9998 | 3.4151e-08 | 29.5999 | 4899 | -2090.3333 | 1232.6667 | 208 | 465.3333 | 148.6667 | 381.3333 | 196.3333 | 80 | 193 | 5199 | -2225 | 3561 | 270 | 1182 | 161 | 301 | 299 | 662 | 55 | [20 empty] | 9419 | -4656 | 961 | 226 | 52 | 321 | 412 | 193 | 213 | 143
_ | 2214 | 2251 | -37 | -0.16101 | -18.1938 | -8.26 | 73.833 | 21.0114 | 49.9156 | 27.9363 | 91.603 | 37.0714 | 65.7356 | 47.0463 | 102.033 | 43.4314 | 70.2656 | 52.4063 | 55.3747 | 15.7585 | 37.4367 | 20.9522 | 68.7023 | 27.8036 | 49.3017 | 35.2847 | 76.5247 | 32.5735 | 52.6992 | 39.3047 | -------- | 337.3076 | 130.176 | -------- | 269.3862 | 135.3202 | -------- | 255.1494 | 177.079 | 0.022 | -0.078 | 0.074 | -0.023 | 0.103 | 0 | 26 |  | 30 | 1.8791 | 23.5479 | 1.5275 | 23.3287 | 6303.3333 | -2508.6667 | 1236 | 217.6667 | 625.3333 | 113 | 179 | 191.3333 | 129.6667 | 169 | 7238 | -3660 | 4424 | 273 | 1096 | 129 | 386 | 318 | 575 | 96 | [20 empty] | 8791 | -3965 | 2587 | 279 | 188 | 131 | 225 | 197 | 133 | 147
j | 2281 | 2281 | 0 | 0 | 0 | 0 | 71.563 | 22.2014 | 60.5656 | 20.2563 | 87.983 | 40.1414 | 75.2056 | 36.2863 | --------- | --------- | --------- | --------- | 53.6722 | 16.6511 | 45.4242 | 15.1922 | 65.9873 | 30.106 | 56.4042 | 27.2147 | --------- | --------- | --------- | --------- | -------- | 324.2572 | 148.6346 | -------- | 253.963 | 161.3438 | -------- | -------- | -------- | -0.013 | -0.09 | 0.039 | -0.031 | -------- | -------- | 27 |  | 60 | 3.2738 | 7.1806 | 3.1643 | 7.1083 | 4431 | -1916.6667 | 851.6667 | 220 | 445.3333 | 87 | 164 | 190.3333 | 80.6667 | 165.3333 | 9005 | -3032 | 1060 | 279 | 1423 | 97 | 471 | 146 | 235 | 80 | [20 empty] | 10230 | -4572 | 2362 | 299 | 1701 | 56 | 1139 | 334 | 592 | 178
r | 2277 | 2269 | 8 | 0.034812 | 3.9338 | 1.7859 | 69.383 | 26.7014 | 66.8356 | 15.8063 | 84.623 | 45.3414 | 80.6856 | 31.2963 | --------- | --------- | --------- | --------- | 52.0373 | 20.0261 | 50.1267 | 11.8547 | 63.4672 | 34.0061 | 60.5142 | 23.4722 | --------- | --------- | --------- | --------- | -------- | 257.8188 | 142.5826 | -------- | 205.3206 | 146.2138 | -------- | -------- | -------- | -0.041 | -0.091 | 0.02 | -0.032 | -------- | -------- | 28 |  | 90 | 4.229 | -14.4777 | 4.1374 | -14.2866 | 5703.6667 | -2232.3333 | 781 | 218.6667 | 346 | 102 | 158 | 184.6667 | 56 | 101.6667 | 7792 | -3152 | 2166 | 5 | 4890 | 98 | 655 | 246 | 83 | 313 | [20 empty] | 9052 | -4686 | 3636 | 273 | 1558 | 338 | 595 | 51 | 372 | 138
Y | 2223 | 2223 | 0 | 0 | 0 | 0 | 66.933 | 28.9814 | 71.3056 | 12.7363 | 82.723 | 48.3214 | 84.8156 | 27.8363 | --------- | --------- | --------- | --------- | 50.1998 | 21.736 | 53.4792 | 9.5522 | 62.0423 | 36.2411 | 63.6117 | 20.8772 | --------- | --------- | --------- | --------- | -------- | 230.235 | 143.1878 | -------- | 175.364 | 144.3982 | -------- | -------- | -------- | -0.052 | -0.091 | 0.006 | -0.029 | -------- | -------- | 29 |  | 120 | 4.9265 | -38.6824 | 4.5559 | -38.4094 | 7268.5 | -2922 | 1062 | 232 | 207.5 | 135.5 | 175.5 | 167 | 56.5 | 159 | 6854 | -3910 | 2162 | 350 | 863 | 282 | 1210 | 211 | 702 | 36 | 12885 | -8162 | 2233 | 323 | 502 | 53 | 354 | 159 | 108 | 186 | [10 empty] | 7696 | -4118 | 2859 | 331 | 980 | 89 | 1032 | 278 | 397 | 119
a | 2220 | 2219 | 1 | 0.0043515 | 0.49172 | 0.22324 | 62.183 | 33.2714 | 75.0156 | 10.6363 | 79.503 | 52.2214 | 88.5356 | 25.2063 | --------- | --------- | --------- | --------- | 46.6373 | 24.9535 | 56.2617 | 7.9772 | 59.6272 | 39.166 | 66.4017 | 18.9047 | --------- | --------- | --------- | --------- | -------- | 248.9208 | 150.7528 | -------- | 198.7954 | 174.9608 | -------- | -------- | -------- | -0.066 | -0.085 | -0.006 | -0.023 | -------- | -------- | 30 | 60 | 150 | 5.4913 | -64.0951 | 5.2948 | -64.0571 | 5128.6667 | -2220.3333 | 1026.6667 | 239.3333 | 651 | 83.3333 | 170.3333 | 182.3333 | 61 | 138.3333 | 8991 | -3417 | 1360 | 337 | 1725 | 57 | 232 | 201 | 119 | 164 | 8533 | -5450 | 2001 | 336 | 1386 | 50 | 146 | 198 | 86 | 141 | [10 empty] | 9572 | -4634 | 2798 | 298 | 726 | 41 | 409 | 178 | 166 | 176
n | 2201 | 2255 | -54 | -0.23498 | -26.5531 | -12.0551 | 18.183 | 80.1114 | 60.1556 | 26.0342 | 35.823 | 96.6214 | 73.6356 | 46.8263 | --------- | --------- | --------- | --------- | 13.6372 | 60.0836 | 45.1167 | 19.5256 | 26.8672 | 72.466 | 55.2267 | 35.1197 | --------- | --------- | --------- | --------- | -------- | 264.344 | 239.7172 | -------- | 198.4988 | 267.5564 | -------- | -------- | -------- | -0.087 | 0.088 | -0.022 | 0.137 | -------- | -------- | 31 |  | 180 | 0 | -89.9994 | 0 | -89.5997 | 4894 | -1864 | 892.3333 | 263.3333 | 299.6667 | 29.6667 | 164.3333 | 196.6667 | 97.3333 | 122 | 8090 | -2992 | 2875 | 337 | 2420 | 91 | 610 | 212 | 245 | 231 | [20 empty] | 5767 | -3007 | 2425 | 351 | 2160 | 123 | 945 | 280 | 76 | 30
t | 2229 | 2202 | 27 | 0.11749 | 13.2766 | 6.0276 | 36.963 | 58.9714 | 29.2856 | 58.7263 | 59.903 | 73.1414 | 43.9356 | 74.6263 | --------- | --------- | --------- | --------- | 27.7222 | 44.2285 | 21.9642 | 44.0447 | 44.9273 | 54.8561 | 32.9517 | 55.9697 | --------- | --------- | --------- | --------- | -------- | 292.2244 | 200.6818 | -------- | 231.718 | 228.521 | -------- | -------- | -------- | 0.05 | 0.091 | 0.103 | 0.136 | -------- | -------- | 32 |  | 210 | -5.4913 | -64.0944 | -5.2948 | -64.0566 | 4844.3333 | -1963 | 603.6667 | 217 | 231.3333 | 253.6667 | 145 | 180.3333 | 63.6667 | 79.6667 | 6354 | -3364 | 2157 | 274 | 919 | 116 | 1210 | 286 | 210 | 265 | [20 empty] | 8286 | -4137 | 642 | 340 | 928 | 2 | 220 | 22 | 202 | 174
] | 2265 | 2275 | -10 | -0.043515 | -4.9172 | -2.2324 | 39.863 | 55.2014 | 29.0956 | 59.8563 | 62.583 | 70.5214 | 43.9356 | 75.3563 | --------- | --------- | --------- | --------- | 29.8972 | 41.401 | 21.8217 | 44.8922 | 46.9372 | 52.891 | 32.9517 | 56.5172 | --------- | --------- | --------- | --------- | -------- | 272.3522 | 158.923 | -------- | 207.99 | 184.0388 | -------- | -------- | -------- | 0.057 | 0.85 | 0.109 | 0.13 | -------- | -------- | 33 |  | 240 | -4.9265 | -38.6817 | -4.5559 | -38.409 | 5926 | -2421.6667 | 651 | 268 | 717 | 83 | 278 | 145.6667 | 91 | 130.6667 | 12648 | -4871 | 2064 | 330 | 2140 | 94 | 1317 | 212 | 540 | 15 | 3305 | -3008 | 2078 | 334 | 244 | 113 | 177 | 48 | 145 | 5 | [10 empty] | 10580 | -4859 | 698 | 123 | 952 | 345 | 49 | 170 | 372 | 124
c | 2253 | 2211 | 42 | 0.18276 | 20.6524 | 9.3762 | 47.803 | 48.6314 | 28.1556 | 61.1863 | 69.513 | 64.0851 | 42.7056 | 76.2963 | --------- | --------- | --------- | --------- | 35.8522 | 36.4736 | 21.1167 | 45.8897 | 52.1347 | 48.0638 | 32.0292 | 57.2222 | --------- | --------- | --------- | --------- | -------- | 275.3182 | 153.7788 | -------- | 212.1424 | 196.1428 | -------- | -------- | -------- | 0.73 | 0.069 | 0.121 | 0.114 | -------- | -------- | 34 |  | 270 | -4.229 | -14.4771 | -4.1374 | -14.2862 | 5671.3333 | -2254 | 698.3333 | 188.6667 | 338.3333 | 176 | 234.3333 | 179.6667 | 80.6667 | 86 | 8729 | -3932 | 1645 | 152 | 1465 | 69 | 277 | 109 | 336 | 181 | 11958 | -6263 | 1050 | 73 | 871 | 307 | 162 | 188 | 293 | 166 | [10 empty] | 6268 | -4042 | 3347 | 294 | 1364 | 73 | 806 | 303 | 662 | 126
[5 empty] | sum = | -0.44649 | 55.963 | 41.3314 | 29.6356 | 59.7663 | 77.143 | 56.2014 | 44.5656 | 74.8463 | --------- | --------- | --------- | --------- | 41.9723 | 30.9986 | 22.2267 | 44.8247 | 57.8573 | 42.151 | 33.4242 | 56.1347 | --------- | --------- | --------- | --------- | -------- | 341.46 | 184.0388 | -------- | 272.6488 | 219.443 | -------- | -------- | -------- | 0.081 | 0.041 | 0.13 | 0.09 | -------- | -------- | 35 |  | 300 | -3.2737 | 7.1811 | -3.1642 | 7.1087 | 5330.3333 | -1972 | 917.6667 | 182 | 402.3333 | 180.6667 | 149.6667 | 209.3333 | 102.3333 | 104.3333 | 11934 | -4945 | 1743 | 128 | 623 | 112 | 433 | 76 | 57 | 147 | 11946 | -5871 | 1718 | 108 | 599 | 290 | 419 | 158 | 167 | 146 | [10 empty] | 7776 | -3036 | 1770 | 254 | 292 | 58 | 726 | 16 | 487 | 54
[7 empty] | 66.203 | 32.7814 | 32.5356 | 56.0863 | 85.983 | 47.7214 | 47.8656 | 70.6163 | --------- | --------- | --------- | --------- | 49.6523 | 24.5861 | 24.4017 | 42.0647 | 64.4873 | 35.791 | 35.8992 | 52.9622 | --------- | --------- | --------- | --------- | -------- | 355.9934 | 156.1996 | -------- | 296.6734 | 199.1688 | -------- | -------- | -------- | 0.083 | 0.005 | 0.131 | 0.054 | -------- | -------- | 36 |  | 330 | -1.8791 | 23.5483 | -1.5274 | 23.329 | 5870.3333 | -2395 | 1007.6667 | 147 | 574.6667 | 155 | 328.6667 | 145.6667 | 135 | 299.3333 | 11169 | -4604 | 230 | 340 | 1444 | 128 | 516 | 203 | 374 | 85 | [20 empty] | 8578 | -3225 | 3542 | 251 | 1104 | 282 | 1138 | 348 | 683 | 69
[7 empty] | 79.093 | 23.2014 | 47.2356 | 40.4163 | 95.423 | 38.8614 | 61.1356 | 56.5463 | --------- | --------- | --------- | --------- | 59.3197 | 17.4011 | 35.4267 | 30.3122 | 71.5673 | 29.146 | 45.8517 | 42.4097 | --------- | --------- | --------- | --------- | -------- | 412.3474 | 213.9962 | -------- | 337.6042 | 241.2302 | -------- | -------- | -------- | 0.062 | -0.051 | 0.111 | 0.005 | -------- | -------- | 37 |  | 0 | 0 | -0.00021046 | 0 | -0.00012628 | 6999 | -2584 | 1386.3333 | 172.6667 | 613.6667 | 130 | 291.3333 | 207.6667 | 91.3333 | 152 | 11202 | -3700 | 610 | 2 | 997 | 141 | 199 | 148 | 272 | 180 | 7475 | -3661 | 835 | 357 | 1007 | 124 | 186 | 203 | 160 | 173 | [10 empty] | 5554 | -2177 | 728 | 317 | 980 | 67 | 483 | 265 | 306 | 34
[7 empty] | 75.183 | 25.6914 | 58.7056 | 27.7963 | 90.283 | 41.5414 | 72.3056 | 44.4363 | --------- | --------- | --------- | --------- | 56.3873 | 19.2686 | 44.0292 | 20.8472 | 67.7122 | 31.1561 | 54.2292 | 33.3272 | --------- | --------- | --------- | --------- | -------- | 407.3052 | 227.6132 | -------- | 331.9688 | 256.0576 | -------- | -------- | -------- | 0.023 | 0.066 | 0.074 | -0.01 | -------- | -------- | 38 |  | 30 | 0.96683 | -3.326 | 0.5801 | -3.1956 | 6299.6667 | -2070 | 1082.6667 | 205 | 374.3333 | 172 | 260.3333 | 203.3333 | 65.3333 | 165.6667 | 10125 | -3556 | 1411 | 269 | 1610 | 268 | 941 | 350 | 243 | 155 | [20 empty] | 5700 | -2337 | 3228 | 309 | 3133 | 97 | 1183 | 268 | 400 | 97
[7 empty] | 65.983 | 32.1714 | 68.5356 | 18.5863 | 81.993 | 49.8114 | 82.2256 | 34.1063 | --------- | --------- | --------- | --------- | 49.4873 | 24.1286 | 51.4017 | 13.9397 | 61.4948 | 37.3586 | 61.6692 | 25.5797 | --------- | --------- | --------- | --------- | -------- | 406.4154 | 247.2822 | -------- | 338.7906 | 275.424 | -------- | -------- | -------- | -0.021 | -0.063 | 0.031 | -0.005 | -------- | -------- | 39 |  | 60 | 1.7553 | -12.5041 | 1.4532 | -12.3025 | 6217.3333 | -2231.6667 | 792.6667 | 224.6667 | 578.3333 | 212.6667 | 110 | 233.3333 | 76.3333 | 124.6667 | 12625 | -4466 | 772 | 286 | 880 | 93 | 68 | 311 | 257 | 85 | 8304 | -4420 | 1342 | 38 | 1079 | 45 | 104 | 177 | 28 | 14 | [10 empty] | 7718 | -3016 | 2990 | 340 | 2834 | 97 | 989 | 227 | 501 | 201
[7 empty] | 53.183 | 41.8514 | 76.0256 | 13.3363 | 72.063 | 59.6214 | 89.1556 | 28.6163 | --------- | --------- | --------- | --------- | 39.8873 | 31.3885 | 57.0192 | 10.0022 | 54.0472 | 44.7161 | 66.8667 | 21.4622 | --------- | --------- | --------- | --------- | -------- | 412.3474 | 275.424 | -------- | 342.6464 | 306.5918 | -------- | -------- | -------- | -0.053 | -0.047 | 0.003 | 0.009 | -------- | -------- | 40 |  | 90 | 2.246 | -25.659 | 2.1476 | -25.3954 | 5436 | -1995.3333 | 690 | 227.3333 | 466.3333 | 129.3333 | 118.3333 | 203 | 74 | 217.6667 | 10644 | -2988 | 1965 | 317 | 2377 | 88 | 441 | 214 | 97 | 70 | [20 empty] | 8913 | -3200 | 2003 | 323 | 930 | 57 | 318 | 196 | 248 | 169
[7 empty] | 41.383 | 52.7214 | 79.6456 | 11.0463 | 61.033 | 70.7414 | 90.8956 | 26.3463 | --------- | --------- | --------- | --------- | 31.0373 | 39.541 | 59.7342 | 8.2847 | 45.7747 | 53.056 | 68.1717 | 19.7597 | --------- | --------- | --------- | --------- | -------- | 362.222 | 270.2798 | -------- | 292.521 | 295.3956 | -------- | -------- | -------- | -0.078 | -0.019 | -0.021 | 0.028 | -------- | -------- | 41 |  | 120 | 2.3143 | -40.5054 | 2.1886 | -40.3033 | 7047 | -2689 | 1886 | 154.3333 | 454 | 138 | 226.3333 | 169.3333 | 67 | 187 | 9630 | -3480 | 930 | 310 | 840 | 38 | 352 | 142 | 190 | 189 | 4487 | -3098 | 1355 | 330 | 711 | 64 | 135 | 187 | 159 | 158 | [10 empty] | 5709 | -1982 | 1594 | 314 | 1077 | 7 | 212 | 127 | 228 | 164
[7 empty] | 30.253 | 64.5714 | 74.2956 | 14.0463 | 48.883 | 81.7214 | 86.4356 | 31.5363 | --------- | --------- | --------- | --------- | 22.6898 | 48.4286 | 55.7217 | 10.5347 | 36.6623 | 61.291 | 64.8267 | 23.6522 | --------- | --------- | --------- | --------- | -------- | 371.12 | 299.3294 | -------- | 306.1646 | 327.7738 | -------- | -------- | -------- | -0.086 | 0.029 | -0.024 | 0.082 | -------- | -------- | 42 | 30 | 150 | 1.6739 | -53.9022 | 1.4043 | -53.5413 | 5475.3333 | -1992.6667 | 1458.3333 | 149.6667 | 222 | 232.3333 | 201.6667 | 177.6667 | 68 | 41.3333 | 10701 | -3589 | 1752 | 342 | 572 | 65 | 316 | 123 | 218 | 166 | 5113 | -3080 | 2642 | 348 | 624 | 91 | 234 | 157 | 88 | 136 | [10 empty] | 7218 | -2044 | 3134 | 343 | 871 | 69 | 133 | 231 | 113 | 90
[7 empty] | 23.483 | 77.8314 | 59.8356 | 28.6163 | 42.253 | 93.0614 | 73.4756 | 47.7363 | --------- | --------- | --------- | --------- | 17.6122 | 58.3736 | 44.8767 | 21.4622 | 31.6898 | 69.796 | 55.1067 | 35.8022 | --------- | --------- | --------- | --------- | -------- | 374.3826 | 298.119 | -------- | 303.1986 | 328.379 | -------- | -------- | -------- | -0.061 | 0.086 | 0 | 0.135 | -------- | -------- | 43 |  | 180 | 2.8061e-05 | -59.9998 | 1.6837e-05 | -59.5999 | 8135.6667 | -2496.3333 | 1057.3333 | 152.3333 | 997.6667 | 147.6667 | 304.3333 | 188 | 188.6667 | 213.3333 | 11264 | -3600 | 1544 | 356 | 733 | 99 | 185 | 45 | 171 | 187 | [20 empty] | 1838 | -224 | 5392 | 320 | 3183 | 117 | 1232 | 225 | 360 | 49
[7 empty] | 30.153 | 70.3214 | 43.6456 | 46.0963 | 49.783 | 84.4014 | 57.1556 | 64.0863 | --------- | --------- | --------- | --------- | 22.6148 | 52.7411 | 32.7342 | 34.5722 | 37.3372 | 63.301 | 42.8667 | 48.0647 | --------- | --------- | --------- | --------- | -------- | 384.1704 | 300.5398 | -------- | 311.2068 | 328.6816 | -------- | -------- | -------- | 0.001 | 0.104 | 0.056 | 0.148 | -------- | -------- | 44 |  | 210 | -1.6739 | -53.9019 | -1.4043 | -53.5411 | 5468.3333 | -1423.3333 | 1257.6667 | 168.3333 | 632 | 129 | 236.3333 | 205 | 110.6667 | 140.6667 | 11406 | -4237 | 2265 | 2 | 766 | 51 | 224 | 146 | 183 | 185 | 8410 | -4101 | 2155 | 11 | 1321 | 101 | 242 | 193 | 184 | 135 | [10 empty] | 8669 | -3369 | 2332 | 336 | 391 | 307 | 23 | 173 | 290 | 202
[7 empty] | 40.173 | 60.9814 | 36.9356 | 54.0363 | 59.813 | 74.5414 | 50.8556 | 70.0863 | --------- | --------- | --------- | --------- | 30.1298 | 45.736 | 27.7017 | 40.5272 | 44.8597 | 55.9061 | 38.1417 | 52.5647 | --------- | --------- | --------- | --------- | -------- | 388.6194 | 286.9228 | -------- | 322.181 | 310.5256 | -------- | -------- | -------- | 0.038 | 0.09 | 0.092 | 0.137 | -------- | -------- | 45 |  | 240 | -2.3143 | -40.505 | -2.1886 | -40.303 | 9196 | -2625 | 1188 | 183 | 455.5 | 122.5 | 79 | 170 | 72.5 | 187.5 | 12282 | -4396 | 380 | 34 | 505 | 92 | 432 | 315 | 212 | 59 | 7540 | -3556 | 1196 | 5 | 365 | 25 | 154 | 130 | 182 | 122 | [10 empty] | 6722 | -1663 | 2175 | 4 | 2124 | 84 | 813 | 330 | 323 | 164
[7 empty] | 51.183 | 50.6014 | 36.2156 | 55.6963 | 70.743 | 64.7214 | 49.6356 | 71.3463 | --------- | --------- | --------- | --------- | 38.3873 | 37.9511 | 27.1617 | 41.7722 | 53.0573 | 48.541 | 37.2267 | 53.5097 | --------- | --------- | --------- | --------- | -------- | 394.2548 | 265.1356 | -------- | 316.8422 | 288.4358 | -------- | -------- | -------- | 0.059 | 0.064 | 0.11 | 0.111 | -------- | -------- | 46 |  | 270 | -2.246 | -25.6586 | -2.1476 | -25.3952 | 6405 | -2159.3333 | 813 | 186.3333 | 562.3333 | 108 | 167.3333 | 228.6667 | 59.3333 | 178.3333 | 12844 | -4678 | 820 | 134 | 1185 | 115 | 85 | 248 | 451 | 12 | [20 empty] | 5699 | -3081 | 1412 | 337 | 4934 | 105 | 103 | 215 | 1406 | 228
[7 empty] | 61.763 | 41.0214 | 38.8956 | 53.1363 | 80.483 | 55.5914 | 52.4056 | 68.3463 | --------- | --------- | --------- | --------- | 46.3222 | 30.766 | 29.1717 | 39.8522 | 60.3623 | 41.6936 | 39.3042 | 51.2597 | --------- | --------- | --------- | --------- | -------- | 402.263 | 253.3342 | -------- | 322.7742 | 276.3318 | -------- | -------- | -------- | 0.069 | 0.03 | 0.119 | 0.081 | -------- | -------- | 47 |  | 300 | -1.7553 | -12.5038 | -1.4532 | -12.3023 | 9270.5 | -2768.5 | 1581.5 | 150 | 551.5 | 46.5 | 206 | 151 | 134.5 | 223 | 6545 | -2131 | 2322 | 48 | 2227 | 277 | 968 | 163 | 139 | 176 | [20 empty] | 5416 | -1552 | 2232 | 355 | 2700 | 93 | 962 | 268 | 361 | 117
[7 empty] | 68.663 | 34.0614 | 43.9356 | 47.2363 | 87.073 | 48.7214 | 56.4356 | 62.3163 | --------- | --------- | --------- | --------- | 51.4973 | 25.5461 | 32.9517 | 35.4272 | 65.3047 | 36.541 | 42.3267 | 46.7372 | --------- | --------- | --------- | --------- | -------- | 424.8046 | 271.1876 | -------- | 350.358 | 309.0126 | -------- | -------- | -------- | 0.063 | -0.003 | 0.114 | 0.048 | -------- | -------- | 48 |  | 330 | -0.9668 | -3.3258 | -0.58008 | -3.1955 | 8651 | -2252.5 | 1587 | 166 | 285.5 | 156 | 181.5 | 202 | 102.5 | 113 | 14950 | -5315 | 1730 | 3 | 564 | 164 | 85 | 112 | 183 | 189 | 9296 | -4530 | 755 | 314 | 398 | 45 | 507 | 280 | 438 | 51 | [10 empty] | 7999 | -2354 | 2527 | 355 | 990 | 63 | 641 | 250 | 188 | 178
[7 empty] | 48.843 | 53.0114 | 60.2456 | 32.3363 | 64.943 | 68.3414 | 72.5056 | 48.6863 | --------- | --------- | --------- | --------- | 36.6322 | 39.7585 | 45.1842 | 24.2522 | 48.7073 | 51.2561 | 54.3792 | 36.5147 | --------- | --------- | --------- | --------- | -------- | 424.2114 | 322.327 | -------- | 350.358 | 355.3104 | -------- | -------- | -------- | -0.002 | 0.026 | 0.054 | 0.077 | -------- | -------- | Zenith | 0 | 0 | 5.6918e-08 | -30.0002 | 3.4151e-08 | -30.0001 | 7499 | -2123 | 1070 | 186 | 239 | 86.5 | 142.5 | 223 | 57.5 | 120 | 12545 | -4664 | 998 | 7 | 615 | 343 | 311 | 102 | 131 | 172 | 12762 | -5920 | 1248 | 242 | 1195 | 70 | 736 | 287 | 675 | 46 | [10 empty] | 3656 | -1189 | 4210 | 339 | 3271 | 108 | 1799 | 263 | 773 | 79
[50 empty] | Av (nm) |  |  | 5420.72 | -2217.3867 | 966.09 | 203.42 | 443.14 | 145.44 | 198.6433 | 192.6867 | 75.7567 | 145.4033 | 9900.44 | -4068.8 | 1756.08 | 211.26 | 1335.32 | 109.24 | 445.44 | 198.7 | 267.5 | 134.18 | 8467.84 | -4749.28 | 1625.6 | 183.64 | 797.48 | 133.16 | 281.96 | 198.76 | 207.84 | 140.84 | 10181.1818 | -6399.2273 | 1527.0455 | 181.4091 | 1035.2727 | 100.8182 | 310.2727 | 176.0455 | 241.7273 | 146.5909 | 9384.92 | -4459.14 | 2229.8 | 272.82 | 1307.98 | 126.82 | 524.06 | 213.22 | 343.86 | 148.78
[50 empty] | Stdev |  |  | 1454.9169 | 273.1086 | 326.1508 | 29.3444 | 162.6265 | 50.7164 | 72.8036 | 22.9104 | 28.4298 | 47.5515 | 2438.393 | 1045.6115 | 901.0238 | 140.3897 | 799.7239 | 65.6896 | 317.7622 | 80.1316 | 169.1739 | 78.8138 | 2968.3882 | 1377.2498 | 612.338 | 147.175 | 445.8031 | 96.5952 | 214.4152 | 65.2516 | 127.6981 | 76.168 | 2403.7803 | 1285.902 | 733.2507 | 155.6766 | 557.8275 | 118.4425 | 132.7375 | 67.6824 | 138.9697 | 29.1182 | 2989.4733 | 1823.3883 | 1038.219 | 95.5147 | 997.8512 | 104.155 | 382.3355 | 96.2383 | 235.0319 | 64.5892
[50 empty] | Av (Arcsec) |  |  |  | -0.24391 | 0.13525 |  | 0.14624 |  | 0.077471 |  | 0.031818 |  |  | -0.44757 | 0.24585 |  | 0.44066 |  | 0.17372 |  | 0.11235 |  |  | -0.52242 | 0.22758 |  | 0.26317 |  | 0.10996 |  | 0.087293 |  |  | -0.70391 | 0.21379 |  | 0.34164 |  | 0.12101 |  | 0.10153 |  |  | -0.49051 | 0.31217 |  | 0.43163 |  | 0.20438 |  | 0.14442
[53 empty] | foc(0,2) | sph(0,4) | coma(1,3) | ang | ast(2,2) | ang | tria(3,3) | ang | qua(4,4) | ang | foc(0,2) | sph(0,4) | coma(1,3) | ang | ast(2,2) | ang | tria(3,3) | ang | qua(4,4) | ang | foc(0,2) | sph(0,4) | coma(1,3) | ang | ast(2,2) | ang | tria(3,3) | ang | qua(4,4) | ang | foc(0,2) | sph(0,4) | coma(1,3) | ang | ast(2,2) | ang | tria(3,3) | ang | qua(4,4) | ang | foc(0,2) | sph(0,4) | coma(1,3) | ang | ast(2,2) | ang | tria(3,3) | ang | qua(4,4) | ang
[50 empty] | Vec. Av all sky | [14 empty] | 1176.5565 | 27.8037 | 959.6123 | 89.7898 | 636.9903 | 44.3699 | 267.7521 | 87.5136 |  |  | 1182.1425 | 8.4199 | 461.583 | 64.8716 | 153.0368 | 17.3721 | 103.4682 | 37.4879 |  |  | 1317.5188 | 8.4716 | 762.5763 | 28.2199 | 111.0088 | 13.5972 | 198.7209 | 51.9431 |  |  | 1780.7138 | 43.6785 | 899.0557 | 82.3881 | 255.4037 | 87.5927 | 189.9256 | 33.476
[50 empty] | Arcsec | [14 empty] | 0.16472 |  | 0.31667 |  | 0.24843 |  | 0.11246 |  |  |  | 0.1655 |  | 0.15232 |  | 0.059684 |  | 0.043457 |  |  |  | 0.18445 |  | 0.25165 |  | 0.043293 |  | 0.083463 |  |  |  | 0.2493 |  | 0.29669 |  | 0.099607 |  | 0.079769
[50 empty] | Vector Av.( Az,15,30) | [14 empty] | 1263.8075 | 14.6586 | 772.0678 | 71.8432 | [6 empty] | 1331.1025 | 1.9423 | 715.0254 | 70.1356 | [16 empty] | 2511.4841 | 25.4575 | 1054.9521 | 83.7735
[50 empty] | Arcsec | [14 empty] | 0.17693 |  | 0.25478 | [7 empty] | 0.18635 |  | 0.23596 | [17 empty] | 0.35161 |  | 0.34813
[75 empty] | 0.19099 | 22.0934 | 0.25433 | 66.3174 | 0.11275 | 40.733 | 0.079786 | 52.6052
[78 empty] | 33.1587 |  | 13.5777 |  | 13.1513
[82 empty] | 7.5 | Deg